## Sensor
Reaction Oven Instrumentation Check Sheet
THIS IS A TEMPLATE: SAVE A COPY WITH THE COIL NAME IN THE FILE NAME
Coil Name
Coil Type | 11T dipole
Conductor type | RRP 108/127
|  |  |  | Assembly on insertion table |  | Assembly in oven (door open)
Sensor | Sensor Type | Monitoring | Function | Visual Connection check | Initial reading check | Visual Connection check | Initial reading check
O2 sensor 1 |  | Tooling | Oxygen level (ppm) | Y/N | 1 | Y/N | 1
O2 sensor 2 |  | Retort | Oxygen level (ppm)
Ar pressure | Pressure Transducer | Supply | Ar supply Pressure level (bar)
Ar mass flow |  | Tooling | Ar supply flow (lts/h)
Fan speed | Frequency Converter | Circulate fan | Fan speed (%)
Fan speed | Frequency Converter | Cooling fan | Fan speed (%)
-2XS9.1 | Thermocouple | Zone 1 | T sense (°C) | Y/N | 22.4 | Y/N | 22.4
-2XS9.2 | Thermocouple | Zone 2 | T sense (°C)
-2XS9.3 | Thermocouple | Zone 3 | T sense (°C)
-2XS9.4 | Thermocouple | Zone 4 | T sense (°C)
-2XS9.5 | Thermocouple | Zone 5 | T sense (°C)
-2XS9.6 | Thermocouple | Zone1-Zone2 | Over T Alarm
-2XS9.7 | Thermocouple | Zone1-Zone2 | Over T Alarm
Sample 1 | Thermocouple | Coil Tooling | T sense (°C)
Sample 2 | Thermocouple | Coil Tooling | T sense (°C)
Sample 3 | Thermocouple | Coil Tooling | T sense (°C)
Sample 4 | Thermocouple | Coil Tooling | T sense (°C)
Sample 5 | Thermocouple | Coil Tooling | T sense (°C)
Sample 6 | Thermocouple | Coil Tooling | T sense (°C)
Sample 7 | Thermocouple | Coil Tooling | T sense (°C)
Sample 8 | Thermocouple | Coil Tooling | T sense (°C)
Sample 9 | Thermocouple | Coil Tooling | T sense (°C)
Sample 10 | Thermocouple | Coil Tooling | T sense (°C)
Sample 11 | Thermocouple | Coil Tooling | T sense (°C)
Sample 12 | Thermocouple | Coil Tooling | T sense (°C)
Sample 13 | Thermocouple | Coil Tooling | T sense (°C)
Sample 14 | Thermocouple | Coil Tooling | T sense (°C)
Sample 15 | Thermocouple | Coil Tooling | T sense (°C)
Sample 16 | Thermocouple | Coil Tooling | T sense (°C)
Sample 17 | Thermocouple | Coil Tooling | T sense (°C)
Sample 18 | Thermocouple | Coil Tooling | T sense (°C)
Sample 19 | Thermocouple | Coil Tooling | T sense (°C)
Sample 20 | Thermocouple | Coil Tooling | T sense (°C)